## Table 1
|  | PUBLIC WORKS STANDARD DRAWING | SPS STD. DWGs.
REVISION TRACKING
LAST REV. DATE: May 2022
| Drawing Number | Standard Drawing Title/Description | Revision Number | Revision Date | Revisions or Modifications
SECTION SPS- 1XX | SPS-101 | GENERAL LEDGED | 0 | April 2021
| SPS-102 | TYPE I PROCESS FLOW DIAGRAM | 0 | April 2021
| SPS-103 | TYPE II PROCESS FLOW DIAGRAM | 0 | April 2021
| SPS-104 | TYPE III PROCESS FLOW DIAGRAM | 0 | April 2021
| SPS-105 | TYPE IV PROCESS FLOW DIAGRAM | 0 | April 2021
| SPS-106 | Emergency and Maintenance Storage | 0 | April 2021
| SPS-107 | Wet Well Operating Levels | 0 | April 2021
|  |  | 1 | May 2022 | Revised pump operating levels and backup float control and timers
| SPS-108 | Bypass Piping and Inspection Port Detail | 0 | April 2021
| SPS-109 | Wet Well Clean-Out Pipe Detail | 0 | April 2021
| SPS-110 | Wet Well Ventilation and Accessories | 0 | April 2021
| SPS-111 | Hatch Details | 0 | April 2021
| SPS-112 | Personnel Davit Sleeve, Travel Restraint, Anchor Point and Grab Bar Details | 0 | April 2021
| SPS-113 | Air Valve Detail | 0 | April 2021
| SPS-114 | Duplex Sump Pump Detail | 0 | April 2021
| SPS-115 | Building Water Service Plumbing | 0 | April 2021
| SPS-116 | Pressure Monitoring Assembly Detail | 0 | April 2021
| SPS-117 | Single Forcemain Outlet Chamber (Under Development) | 0 | April 2021
| SPS-118 | Dual Forcemain Outlet Chamber (Under Development) | 0 | April 2021
SECTION SPS- 2XX | SPS-201 | Electrical Legend | 0 | April 2021
| SPS-202 | ATS with Bypass Detail | 0 | April 2021
| SPS-203 | Pump X FVNR Starter Control Schematic 1 | 0 | April 2021
|  |  | 1 | May 2022 | Removed the low float hardwired interlock
| SPS=204 | Pump X FVNR Starter Control Schematic 2 | 0 | April 2021
| SPS-205 | Pump X VFD Control Schematic 1 | 0 | April 2021
|  |  | 1 | May 2022 | Removed the low float hardwired interlock
| SPS-206 | Pump X VFD Control Schematic 2 | 0 | April 2021
| SPS-207 | Pump X Soft Starter Control Schematic 1 | 0 | April 2021
|  |  | 1 | May 2022 | Removed the low float hardwired interlock
| SPS-208 | Pump X Soft Starter Control Schematic 2 | 0 | April 2021
| SPS-209 | Pump X Pump Controls – Panel Layouts | 0 | April 2021
| SPS-210 | Inlet Grinder Control – Panel Schematic | 0 | April 2021
| SPS-211 | Inlet Grinder Control – Panel Layout | 0 | April 2021
| SPS-212 | Junction Box Installation Details | 0 | April 2021
| SPS-213 | Wet Well EYS Seal Detail - Pump Cable Junction Box | 0 | April 2021
| SPS-214 | Dry Well_Valve Chamber Ventilation Fan Control Panel Schematic | 0 | April 2021
| SPS-215 | Backup Float Control Panel | 0 | April 2021
|  |  | 1 | May 2022 | door; added default timer values as place holders, added details for position of ISR relay dip swithces.
| SPS-301 | P&ID Legend | 0 | April 2021
| SPS-302 | Type I P&ID | 0 | April 2021
|  |  | 1 | May 2022 | Removed the wet well low level (stop) float
| SPS-303 | Type II P&ID | 0 | April 2021
|  |  | 1 | May 2022 | Removed the wet well low level (stop) float
| SPS-304 | Type III P&ID (1 of 2) | 0 | April 2021
|  |  | 1 | May 2022 | Removed the wet well low level (stop) float
| SPS-305 | Type III P&ID (2 of 2) | 0 | April 2021
| Drawing Number | Standard Drawing Title/Description | Revision Number | Revision Date | Revisions or Modifications
SCTION SPS- 3XX |  |  | 1 | May 2022 | Removed the wet well low level (stop) float
| SPS-306 | Type IV P&ID (1 of 2) | 0 | April 2021
|  |  | 1 | May 2022 | Removed the wet well low level (stop) float
| Drawing Number | Standard Drawing Title/Description | Revision Number | Revision Date | Revisions or Modifications
| SPS-307 | Type IV P&ID (2 of 2) | 0 | April 2021
|  |  | 1 | May 2022 | Removed the wet well low level (stop) float
| SPS-308 | Type II P&ID Building Services P&ID | 0 | April 2021
| SPS-309 | Normal and Standby Power P&ID | 0 | April 2021
| SPS-310 | Level Transducer Mounting Detail 1 | 0 | April 2021
| SPS-311 | Level Transducer Mounting Detail 2 | 0 | April 2021
| SPS-312 | Level Float Switch Mounting Details | 0 | April 2021
| SPS-313 | Gas Sensor Mounting Details | 0 | April 2021
| Drawing Number | Standard Drawing Title/Description | Revision Number | Revision Date | Revisions or Modifications
| Drawing Number | Standard Drawing Title/Description | Revision Number | Revision Date | Revisions or Modifications
| Drawing Number | Standard Drawing Title/Description | Revision Number | Revision Date | Revisions or Modifications
| Drawing Number | Standard Drawing Title/Description | Revision Number | Revision Date | Revisions or Modifications