## REFERENCE DOCUMENT (2) (hidden)
Field Reference Document - Process Assets
Published: 03/09/2015
Ref. No. | Reason for including in asset data collection | Example
TAG No. / SCADA No. | Asset identification using an approved naming convention defined by Peel (PAIDS) standard. Provides a link to engineering drawing and process records for the asset. Field links asset to information on SCADA system when applicable and is also known as the SCADA #. | HV34110
P&ID No. | This information normally provided on asset list provided by General Contractor. | P1013
Contract No. | Collating asset to a defined project which will also assist in sorting, reporting, tracking and searching of assets. | 2
Description | Following a pre-determined asset naming convention, provides a consistant method of naming assets for operations, trade usage, search and reporting purposes. | MIT air supply line to Membrane Tank No. 1 (MBT34100)
Class | All assets are coded to a specific class. Assists in the accurate naming of an asset, development of maintenance plans, tracking, searching, sorting and reporting of assets. | Valve
Subclass | This is a sub-division of within a 'Class' that will further assist in the accurate naming of an asset, development of maintenance plans, tracking, searching, sorting and reporting of assets. | Ball
Size | Specific OEM asset information to assist with development of maintenance plan, additional asset information, asset replacement, repair and warranty info. Assists with sorting, reporting, tracking and searching of assets. | 50 mm
New/ Ex/ Future (STATUS) | Status will assist in determining actual, physical status of assets which can be "new", "in service", 'removed from service', or 'spare'. | New
Manufacturer | Specific OEM asset information to assist with development of maintenance plan, additional asset information, asset replacement, repair and warranty info. Assists with sorting, reporting, tracking and searching of assets. | Valmatic
Model # | Specific OEM asset information to assist with development of maintenance plan, additional asset information, asset replacement, repair and warranty info. Assists with sorting, reporting, tracking and searching of assets. | 234235024
Serial # | Unique OEM asset information to assist with development of maintenance plan, additional asset information, asset replacement, repair and warranty info. Assists with reporting, tracking and searching of assets. | 23445t5465
Supplier Name | The inclusion of this field assists in the future replacement, maintenance, spare parts, or information required for an asset. | ABC Valve Co.
Installed | The date that asset information was collected | DATE
Commissioned | The date the asset was successfully commissioned for active service. | DATE
Warranty start | This information will identify each asset by the date the warranty begins and will assist in demonstrating if the asset is within its warranty period. Also assists with actions to be taken in case of asset failure and repair or replacement requirements. | DATE
Warranty end | This information will identify each asset by the date the warranty ends and will assist in demonstrating if the asset is within its warranty period. Also assists with actions to be taken in case of asset failure and repair or replacement requirements. | DATE
Replacement Cost | Provides a budget value of the asset when newly installed and assists with providing a budget cost to replace assets (does not include additional costs for installation of asset, engineering, etc.) Also assists in the determination of criticality. | DOLLAR CANADIAN
Nameplate Information | Additional OEM asset specific information collected when applicable including but not limited to: horse power (HP), Amps, Cycle/Hz, phase, voltage, duty, frame, service factor, RPM, capacity/rating, code, enclosure, type/form, horiz/vert, insul. Class, pump type, size, temp, impelar diameter and othe available information.
O & M Manual | Specific OEM asset information to assist with development of maintenance plan, additional asset information, asset replacement, repair and warranty info. | If Possible, supply a Link to the Manuals or Maintenace Section of each Manual and include in a separate folder.
Building | This field defines the building (or area) that an asset is located. It supports the searching, sorting, tracking and reporting of an a asset. | Main Building
Room | Provides for a more precise physical location of an asset and assists with asset searching and sorting. | Room in Main Building
Physical Location | Provides for a more precise physical location of an asset within a room or area. Descriptions sometimes include cardinal points or permanent landmarks and assists with asset searching. | Northeast corner of Pump room
Level/Floor (1=Ground) | Provides for a more precise physical location of assets to assist with asset searching and tracking. G=Ground Level and B1= 1st level below ground and L1 is the 1st floor above the ground level. | B3, B2, B1, G, L1, L2, L3 Elevation is usually used when in stairwells or betwen floors Elev. 72.000, Elev. 80.000
C: \ DATA \ ASSET COLLECTION PROJECT TOOLS & FORMS \ CONTRACTOR ASSET COLLECTION SPREADSHEET \ UPDATED Contractor \ Contractords ASSET Data Spreadsheet-Appendix H.xls

## Cover Page
Document Name: Asset Management Data Sheet
Last Updated: September 18, 2023
Content:
The Consultant shall prepare and submit a Draft Asset Management Data Sheet in spreadsheet format for each project and submit it with the 90% detailed design submission. The list should include every piece of equipment associated with the upgrades (including process mechanical, building mechanical, electrical, instrumentation, structural, and safety). The information provided for each asset included shall be consistent with the Region’s Asset Management Data Collection Protocol and the Asset Hierarchy Standard. The Draft Asset Management Data Sheet shall be included in the Tender Package and a digital copy provided to the successful Contractor.
Tab 1 - Attribute Descriptions
Provides detailed description of information required for each attribute field.
Tab 2 - Data Collection Form
Empty data collection form for entering relevant asset data for the project.
One row of sample data is provided.

## Attribute Descriptions
Ref. No. | Reason for including in asset data collection | Example
P&ID TAG No. / SCADA No. | Asset identification using an approved naming convention defined by Peel (PAIDS) standard. Provides a link to engineering drawing and process records for the asset. Field links asset to information on SCADA system when applicable and is also known as the SCADA #. | HV34110
P&ID No. | This information normally provided on asset list provided by General Contractor. | 930-3-E-2103
Contract & Spec No. | Collating asset to a defined project which will also assist in sorting, reporting, tracking and searching of assets. | 2
Description | Following a pre-determined asset naming convention, provides a consistant method of naming assets for operations, trade usage, search and reporting purposes. | BUTTERFLY VALVE HIGHLIFT PUMP #1 DISCHARGE
Class | All assets are coded to a specific class. Assists in the accurate naming of an asset, development of maintenance plans, tracking, searching, sorting and reporting of assets. | VALVE
Subclass | This is a sub-division of within a 'Class' that will further assist in the accurate naming of an asset, development of maintenance plans, tracking, searching, sorting and reporting of assets. | BUTTERFLY
Size | Specific OEM asset information to assist with development of maintenance plan, additional asset information, asset replacement, repair and warranty info. Assists with sorting, reporting, tracking and searching of assets. | 1200
New/ Ex/ Future (STATUS) | Status will assist in determining actual, physical status of assets which can be "New in service, "Existing back in service " or " spare part for future use" | NEW
Manufacturer | Specific OEM asset information to assist with development of maintenance plan, additional asset information, asset replacement, repair and warranty info. Assists with sorting, reporting, tracking and searching of assets. | VALMATIC
Model # | Specific OEM asset information to assist with development of maintenance plan, additional asset information, asset replacement, repair and warranty info. Assists with sorting, reporting, tracking and searching of assets. | 234235024
Serial # | Unique OEM asset information to assist with development of maintenance plan, additional asset information, asset replacement, repair and warranty info. Assists with reporting, tracking and searching of assets. | 23445t5465
Supplier Name | The inclusion of this field assists in the future replacement, maintenance, spare parts, or information required for an asset. | ABC Valve Co.
Installed | The date the asset is installed | DATE
Commissioned | The date the asset was successfully commissioned for active service. | DATE
Warranty start | This information will identify each asset by the date the warranty begins and will assist in demonstrating if the asset is within its warranty period. Also assists with actions to be taken in case of asset failure and repair or replacement requirements. | DATE
Warranty end | This information will identify each asset by the date the warranty ends and will assist in demonstrating if the asset is within its warranty period. Also assists with actions to be taken in case of asset failure and repair or replacement requirements. | DATE
Replacement Cost | Provides a budget value of the asset when newly installed and assists with providing a budget cost to replace assets (does not include additional costs for installation of asset, engineering, etc.) Also assists in the determination of criticality. | DOLLAR CANADIAN
Nameplate Information | Additional OEM asset specific information collected when applicable including but not limited to: horse power (HP), Amps, Cycle/Hz, phase, voltage, duty, frame, service factor, RPM, capacity/rating, code, enclosure, type/form, horiz/vert, insul. Class, pump type, size, temp, impelar diameter and othe available information.
O & M Manual | Specific OEM asset information to assist with development of maintenance plan, additional asset information, asset replacement, repair and warranty info. | If Possible, supply a Link to the Manuals or Maintenace Section of each Manual and include in a separate folder.
Facility | This field defines the facility that an asset is located within. It supports the searching, sorting, tracking and reporting of an a asset. | Beckett Sproule Pumping Station and Reservoir
Building | This field defines the building (or area) that an asset is located. It supports the searching, sorting, tracking and reporting of an a asset. | Main Building
Room | Provides for a more precise physical location of an asset and assists with asset searching and sorting. | Room in Main Building
Physical Location | Provides for a more precise physical location of an asset within a room or area. Descriptions sometimes include cardinal points or permanent landmarks and assists with asset searching. | Northeast corner of Pump room
Level/Floor (1=Ground) | Provides for a more precise physical location of assets to assist with asset searching and tracking. G=Ground Level and B1= 1st level below ground and L1 is the 1st floor above the ground level. | B3, B2, B1, G, L1, L2, L3 Elevation is usually used when in stairwells or betwen floors Elev. 72.000, Elev. 80.000

## Data Collection Form
Job Title
Job No. | [7 empty] | ASSET COLLECTION FIELDS REQUIRED | [18 empty] | APPENDIX A
Date:
Version:
[6 empty] | Classification | [24 empty] | SCADA ELECTRONIC COMPONENTS
Ref. No. | P&ID TAG No. / SCADA No. | P&ID DWG No. | Contract No. | Spec No. | Description | Equipment Class | Equipment Subclass | Size (mm) | New / Existing / Future (STATUS) | Manufacturer | Model # | Serial # | Supplier Name | Picture | Installed Date. | Commissioned Date | Warranty Start Date | Warranty End Date | Replacement Cost (Estimate) | Nameplate Information | O & M Manual | Facility | Building | Room | Physical Location | Level/Floor (0=Basement, 1=Ground) | Panel Identifier | Location in Panel | Life Expectancy (years) | Comments (ie. setpoints) | IP Address | Version # | Firmware Rev # | Date Code | Comments (ie. setpoints)
Example: | FV34110 | 930-3-E-2103 | 5 | 14110 | BUTTERFLY VALVE HIGHLIFT PUMP #1 DISCHARGE | VALVE | BUTTERFLY | 1200 | NEW | VALMATIC | 234235024 | 23445t5465 | ABC Valve Co. |  | DATE FORMAT | DATE FORMAT | DATE FORMAT | DATE FORMAT | DOLLAR VALUE (CANADIAN) |  | Hyperlink | Beckett Sproule Pumping Station and Reservoir | Main Building | Room in Main Building | Northeast corner of Pump room | 1
1
2
3
4
5
6
7
8
9
10
11
12
13
14
15
16
17
18
19
20
21
22
23
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40
41
42
43
44
45
46
47
48
49
50
51
52
53
54
55
56
57
58
59
60
61
62
63
64
65
66
67
68
69
70
71
72
73
74
75
76
77
78
79
80
81
82
83
84
85
86
87
88
89
90
91
92
93
94
95
96
97
98
99
100
101
102
103
104
105
106
107
108
109
110
111
112
113
114
115
116
117
118
119
120
121
122
123
124
125
126
127
128
129
130
131
132
133
134
135
136
137
138
139
140
141
142
143
144
145
146
147
148
149
150
151
152
153
154
155
156
157
158
159
160
161
162
163
164
165
166
167
168
169
170
171
172
173
174
175
176
177
178
179
180
181
182
183
184
185
186
187
188
189
190

## Classifications (hidden)
Class | Subclass | Class List (No duplicates)
ACCESS GATE | BARRIER | ACCESS GATE
ACCESS GATE | SLIDING | ACTUATOR
ACCESS GATE | WICKET | AIR CONDITIONER
ACTUATOR | ELECTRIC | AIR DAMPER
ACTUATOR | HYDRAULIC | AIR DRYER
ACTUATOR | PNEUMATIC | AIR FILTER
AIR CONDITIONER | INDOOR (EVAPORATOR) | AIR HANDLING UNIT (AHU)
AIR CONDITIONER | OUTDOOR (CONDENSER) | AIR RECEIVER
AIR DAMPER | BUTTERFLY | ALARM PANEL
AIR DAMPER | LOUVRE | ANALYZER
AIR DRYER | n/a | AUTO SAMPLER
AIR FILTER | CARTRIDGE | BACKFLOW PREVENTER
AIR FILTER | FIXED SCREEN | BATTERY BANK
AIR FILTER | ROLLING SCREEN | BATTERY CHARGER
AIR HANDLING UNIT (AHU) | n/a | BLEED FAN
AIR RECEIVER | COMPRESSED | BLOWER
AIR RECEIVER | VACUUM | BOILER
ALARM PANEL | n/a | BREAKER
ANALYZER | ALGAE | BUILDING (INTERIOR)
ANALYZER | AMMONIUM | CENTRIFUGE
ANALYZER | CHLORINE | CHAMBER
ANALYZER | CHLORINE/PH/TEMPERATURE/FLUORIDE | CHLORINATOR
ANALYZER | CONDUCTIVITY | CHLORINE EVAPORATOR
ANALYZER | DO | COLLECTOR
ANALYZER | EMISSION | COMMUNICATION PANEL
ANALYZER | FLUORIDE | COMPRESSOR
ANALYZER | HYDROPEROXIDE | COMPUTER
ANALYZER | HYDROSULPHIDE | CONTACTOR
ANALYZER | METHANE | CONTAINMENT AREA
ANALYZER | MOISTURE | CONTROL PANEL
ANALYZER | ORP | CONVEYOR
ANALYZER | OXYGEN | DEHUMIDIFIER
ANALYZER | OZONE | DENSITY METER
ANALYZER | PH | DIFFUSER SYSTEM
ANALYZER | SODIUM BISULFITE | DIGESTER
ANALYZER | SPECTROPHOTOMETER | DISCONNECT SWITCH
ANALYZER | SULPHUR DIOXIDE | DOCK LEVELLER
ANALYZER | SUSPENDED SOLID | DOOR OPERATOR
ANALYZER | TURBIDITY | ELECTRICAL PANEL
ANALYZER | UVT | ELEVATED TANK
AUTO SAMPLER | n/a | ELEVATOR
BACKFLOW PREVENTER | SINGLE | EMERGENCY WASH STATION
BACKFLOW PREVENTER | TWINNED | ENGINE
BATTERY BANK | n/a | FALL ARREST
BATTERY CHARGER | n/a | FAN
BLEED FAN | n/a | FEEDERMAIN
BLOWER | CENTRIFUGAL | FIRE EXTINGUISHER
BLOWER | TURBO | FIRE HOSE
BOILER | BUILDING | FLAME ARRESTOR
BOILER | PROCESS | FLOW METER
BREAKER | n/a | FLUIDIZED BED INCINERATOR
BUILDING (INTERIOR) | ROOM | FORK LIFT
CENTRIFUGE | DEWATERING | GAS DETECTOR
CENTRIFUGE | THICKENING | GAS TRAIN
CHAMBER | ACCESS | GEARBOX
CHAMBER | AIR VALVE | GENERATOR
CHAMBER | BRANCH | GRAVITY BELT THICKENER
CHAMBER | DRAIN VALVE | GRIT CLASSIFIER
CHAMBER | INTERCONNECTING | HANGER BEARING
CHAMBER | ISOLATION | HARMONIC FILTER
CHAMBER | MAIN LINE | HEAT EXCHANGER
CHAMBER | METER | HEAT TRACE
CHLORINATOR | n/a | HEATER
CHLORINE EVAPORATOR | n/a | HEAVY EQUIPMENT
COLLECTOR | Chain & Flight | HYDRANT
COLLECTOR | Monorail | HYDRAULIC POWERPACK
COLLECTOR | Sludge Rake | INFLOW PREVENTER
COLLECTOR | TROUGH | INJECTOR
COMMUNICATION PANEL | BUILDING SECURITY | LAB EQUIPMENT
COMMUNICATION PANEL | CCP | LADDER
COMMUNICATION PANEL | ENERGY MANAGEMENT | LAGOON
COMMUNICATION PANEL | WAN | LEVEL METER
COMPRESSOR | CENTRIFUGAL | LIFTING DEVICE
COMPRESSOR | RECIPROCATING | LIGHTING
COMPRESSOR | ROTARY SCREW | LIQUID FILTER
COMPRESSOR | SCROLL (SPIRAL) | LOAD MONITOR
COMPUTER | BAC | LUBRICATION OIL UNIT
CONTACTOR | GAC | MCC
CONTACTOR | MULTIMEDIA | MIXER
CONTACTOR | SERVER | MOTOR
CONTAINMENT AREA | n/a | NEUTRAL GROUND RESISTOR
CONTROL PANEL | BUILDING AUTOMATION SYSTEMS | OZONE DESTRUCTOR
CONTROL PANEL | FLOAT CONTROL | OZONE GENERATOR
CONTROL PANEL | HVAC CONTROL | PATHWAY
CONTROL PANEL | INSTRUMENT CONTROL | PAVED SURFACE
CONTROL PANEL | LOCAL CONTROL | PERSONAL GAS DETECTOR
CONTROL PANEL | NON-PLC | PIPING
CONTROL PANEL | REMOTE I/O | PLANT-DOCUMENTATION
CONVEYOR | SCREW | PNEUMATIC CONTROL PANEL
DEHUMIDIFIER | FIXED | PPE CABINET
DEHUMIDIFIER | PORTABLE | PRESSURE METER
DENSITY METER | n/a | PROTECTION RELAY
DIFFUSER SYSTEM | CERAMIC DISK | PUMP
DIFFUSER SYSTEM | MEMBRANE | RESERVOIR
DIGESTER | ANAEROBIC | ROOFING
DISCONNECT SWITCH | HYDRO | ROTARY DRUM THICKENER
DISCONNECT SWITCH | LOCAL | SAFETY EQUIPMENT
DOCK LEVELLER | n/a | SAMPLE STATION
DOOR OPERATOR | AUTOMATIC | SCBA
DOOR OPERATOR | MANUAL | SCREEN
ELECTRICAL PANEL | BREAKER | SCRUBBER
ELECTRICAL PANEL | CAPACITOR | SECURITY
ELECTRICAL PANEL | CONTACTOR | SENSOR
ELECTRICAL PANEL | DISTRIBUTION | SEPARATOR
ELECTRICAL PANEL | INVERTER | SETTLER
ELECTRICAL PANEL | LIGHTING | SEWAGE GRINDER
ELECTRICAL PANEL | STARTER | SLUICE GATE
ELEVATED TANK | n/a | SOLAR PANEL
ELEVATOR | n/a | SOLAR WATER HEATER
EMERGENCY WASH STATION | EYE WASH | SPRINKLER
EMERGENCY WASH STATION | SAFETY SHOWER | STACK
ENGINE | BIOGAS | STORMWATER
ENGINE | BI-FUEL | STRAINER
ENGINE | DIESEL | SUBSTATION
ENGINE | NATURAL GAS | SWITCH
FALL ARREST | ANCHOR POINT | SWITCH GEAR
FALL ARREST | DAVIT ARM | TANK
FALL ARREST | DAVIT BASE | TOOL
FALL ARREST | HARNESS | TRANSFER SWITCH
FALL ARREST | LADDER LIFELINE | TRANSFORMER
FALL ARREST | LANYARD | TRANSMITTER
FALL ARREST | SELF RETRACTING LIFELINE | TRAP SEAL PRIMER
FALL ARREST | TRIPOD | TRAVELLING BRIDGE
FALL ARREST | WINCH | TURBINE GENERATOR
FAN | EXHAUST | UNDERDRAIN
FAN | RETURN | UPS
FAN | SUPPLY | UV REACTOR
FAN | VENT | UV REFERENCE SENSOR
FEEDERMAIN | n/a | VALVE
FIRE EXTINGUISHER | ABC | VARIABLE FREQUENCY DRIVE (VFD)
FIRE EXTINGUISHER | CO2 | VARIABLE SPEED DRIVE (VSD)
FIRE HOSE | n/a | VEHICLE
FLAME ARRESTOR | n/a | WASHER COMPACTOR
FLOW METER | INSERTION | WASTE GAS BURNER
FLOW METER | MAGNETIC | WATER HEATER
FLOW METER | MECHANICAL | WATER SAFETY EQUIPMENT
FLOW METER | ORIFICE PLATE | WATER SOFTENER
FLOW METER | VENTURI | WEIGH SCALE
FLUIDIZED BED INCINERATOR | n/a | WELL
FORK LIFT | ELECTRIC
FORK LIFT | PROPANE
GAS DETECTOR | CARBON MONOXIDE
GAS DETECTOR | CL2
GAS DETECTOR | COMBUSTIBLE
GAS DETECTOR | H2S
GAS DETECTOR | METHANE
GAS DETECTOR | MULTIGAS
GAS DETECTOR | SMOKE
GAS DETECTOR | SO2
GAS TRAIN | BIOGAS
GAS TRAIN | NATURAL GAS
GEARBOX | n/a
GENERATOR | FIXED
GENERATOR | PORTABLE
GRAVITY BELT THICKENER | n/a
GRIT CLASSIFIER | n/a
HANGER BEARING | n/a
HARMONIC FILTER | n/a
HEAT EXCHANGER | AIR COOLER
HEAT EXCHANGER | PLATE & FRAME
HEAT EXCHANGER | RADIATOR
HEAT EXCHANGER | SHELL & TUBE
HEAT TRACE | n/a
HEATER | DUCT
HEATER | ELECTRIC
HEATER | NATURAL GAS
HEATER | RADIANT
HEAVY EQUIPMENT | MOWER
HEAVY EQUIPMENT | TRACTOR
HYDRANT | FIRE
HYDRANT | PROCESS WATER
HYDRAULIC POWERPACK | n/a
INFLOW PREVENTER | n/a
INJECTOR | n/a
LAB EQUIPMENT | DISTILLATION
LAB EQUIPMENT | FUME HOOD
LAB EQUIPMENT | ICE MAKER
LAB EQUIPMENT | INCUBATOR
LAB EQUIPMENT | OVEN
LAB EQUIPMENT | SCALE
LADDER | EXTENSION
LADDER | PERMANENT
LADDER | SINGLE
LADDER | STEP
LAGOON | ASH
LEVEL METER | DIFFERENTIAL PRESSURE
LEVEL METER | RADAR
LEVEL METER | ULTRASONIC
LIFTING DEVICE | CHAINFALL
LIFTING DEVICE | CRANE
LIFTING DEVICE | DRUM
LIFTING DEVICE | ENGINE HOIST
LIFTING DEVICE | GANTRY
LIFTING DEVICE | HOIST
LIFTING DEVICE | LIFT BAR
LIFTING DEVICE | MONORAIL
LIFTING DEVICE | PALLET TRUCK
LIFTING DEVICE | PERSON LIFT
LIFTING DEVICE | PULLER
LIFTING DEVICE | ROPE
LIFTING DEVICE | SHACKLE
LIFTING DEVICE | SLING
LIFTING DEVICE | TRIPOD
LIFTING DEVICE | TROLLEY
LIGHTING | EMERGENCY
LIGHTING | EXIT
LIQUID FILTER | CARTRIDGE
LIQUID FILTER | MEMBRANE
LIQUID FILTER | PRESSURE
LOAD MONITOR | n/a
LUBRICATION OIL UNIT | n/a
MCC | n/a
MIXER | DEMAND
MIXER | DYNAMIC
MIXER | GRIT
MIXER | SLUDGE
MIXER | STATIC
MIXER | SUBMERSIBLE
MOTOR | n/a
NEUTRAL GROUND RESISTOR | n/a
OZONE DESTRUCTOR | n/a
OZONE GENERATOR | n/a
PATHWAY | n/a
PAVED SURFACE | n/a
PERSONAL GAS DETECTOR | AUTOMATED TESTING SYSTEM
PERSONAL GAS DETECTOR | CHLORINE
PERSONAL GAS DETECTOR | MULTIGAS
PERSONAL GAS DETECTOR | OZONE
PIPING | CONCRETE
PIPING | INSULATION
PIPING | PROCESS
PIPING | PVC/HDPE
PIPING | STAINLESS STEEL
PIPING | STEEL
PIPING | UTILITY
PLANT-DOCUMENTATION | H&S POSTER
PLANT-DOCUMENTATION | MSDS
PLANT-DOCUMENTATION | OPERATION MANUAL
PLANT-DOCUMENTATION | QEMS/OHSS
PLANT-DOCUMENTATION | RECORD
PNEUMATIC CONTROL PANEL | n/a
PPE CABINET | CHEMICAL
PPE CABINET | ELECTRICAL
PPE CABINET | FIRE
PPE CABINET | GENERAL
PRESSURE METER | n/a
PROTECTION RELAY | FEEDER MANAGEMENT
PROTECTION RELAY | FEEDER PROTECTION
PROTECTION RELAY | GENERATOR MANAGEMENT
PROTECTION RELAY | LINE CURRENT DIFFERENTIAL
PROTECTION RELAY | MOTOR MANAGEMENT
PROTECTION RELAY | MOTOR PROTECTION
PUMP | CENTRIFUGAL
PUMP | DIAPHRAGM
PUMP | GAS BOOSTER
PUMP | GEAR
PUMP | PERISTALTIC
PUMP | PISTON
PUMP | PORTABLE
PUMP | POS DISP
PUMP | PROG CAV
PUMP | ROTARY LOBE
PUMP | SUBMERSIBLE
PUMP | VACUUM
RESERVOIR | n/a
ROOFING | BURIED
ROOFING | FLAT
ROOFING | GREEN
ROOFING | METAL
ROTARY DRUM THICKENER | n/a
SAFETY EQUIPMENT | AED
SAFETY EQUIPMENT | BARRIER
SAFETY EQUIPMENT | CONFINED
SAFETY EQUIPMENT | FIRST AID KIT
SAFETY EQUIPMENT | LOCKOUT STATION
SAFETY EQUIPMENT | SPILL STORAGE
SAFETY EQUIPMENT | TRAFFIC CONTROL
SAMPLE STATION | n/a
SCBA | CYLINDER
SCBA | HARNESS
SCBA | MASK
SCREEN | BAR
SCREEN | TRAVELLING
SCRUBBER | BIO-TRICKLING
SCRUBBER | GAC
SCRUBBER | VENTURI
SECURITY | CAMERA
SECURITY | COMPUTER
SECURITY | FENCE
SECURITY | KEYBOX
SECURITY | MODULES
SECURITY | OPERATIONAL CODES
SENSOR | DO
SENSOR | MLSS
SEPARATOR | n/a
SETTLER | PLATE & TUBE
SEWAGE GRINDER | n/a
SLUICE GATE | n/a
SOLAR PANEL | n/a
SOLAR WATER HEATER | n/a
SPRINKLER | n/a
STACK | n/a
STORMWATER | CATCHBASIN
STORMWATER | CULVERT
STORMWATER | DICB
STORMWATER | MAINTENANCE HOLE
STORMWATER | MAINTENANCE HOLE CATCHBASIN
STORMWATER | POND OVERFLOW
STORMWATER | SIPHON
STORMWATER | STORMCEPTOR
STRAINER | AUTOMATIC
STRAINER | BASKET
STRAINER | DUPLEX
STRAINER | T-TYPE
STRAINER | Y-TYPE
SUBSTATION | INDOOR
SUBSTATION | OUTDOOR
SWITCH | FLOW
SWITCH | LEVEL
SWITCH | LIMIT
SWITCH | PRESSURE
SWITCH | TEMPERATURE
SWITCH GEAR | n/a
TANK | PROCESS
TANK | STORAGE
TOOL | AUTO
TOOL | BAND SAW
TOOL | BOX
TOOL | CAGE
TOOL | CART
TOOL | CHAINSAW
TOOL | COME ALONG
TOOL | COMPUTER
TOOL | DRILL PRESS
TOOL | ELECTRIC SAW
TOOL | FLOOR
TOOL | GARBAGE
TOOL | GENERATOR
TOOL | GRINDER
TOOL | HAND
TOOL | HEATERS
TOOL | HOIST
TOOL | HYDRAULIC
TOOL | LANDSCAPE
TOOL | LATHE
TOOL | LIGHTING
TOOL | PIPE
TOOL | PORTABLE
TOOL | PORTABLE STAIRS
TOOL | POWER
TOOL | PRESSURE WASHER
TOOL | PULLER
TOOL | SAND BLASTER
TOOL | SANDER
TOOL | SCAFFOLD
TOOL | SHOP
TOOL | TABLE SAW
TOOL | TESTING
TOOL | TONNER REPAIR KIT
TOOL | WELDING MACHINE
TOOL | WORK BENCH
TOOL | WRENCH
TRANSFER SWITCH | AUTOMATIC
TRANSFER SWITCH | MANUAL
TRANSFORMER | AIR
TRANSFORMER | OIL
TRANSMITTER | DENSITY
TRANSMITTER | DIFFERENTIAL PRESSURE
TRANSMITTER | FLOW
TRANSMITTER | LEVEL
TRANSMITTER | MOTION DETECTION
TRANSMITTER | PRESSURE
TRANSMITTER | TEMPERATURE
TRAP SEAL PRIMER | n/a
TRAVELLING BRIDGE | n/a
TURBINE GENERATOR | n/a
UNDERDRAIN | STAINLESS STEEL
UPS | n/a
UV REACTOR | n/a
UV REFERENCE SENSOR | n/a
VALVE | AIR RELIEF
VALVE | ALTITUDE
VALVE | BALANCING
VALVE | BALL
VALVE | BUTTERFLY
VALVE | CHECK
VALVE | FUSIBLE PLUG
VALVE | GATE
VALVE | GLOBE
VALVE | KNIFE GATE
VALVE | PINCH
VALVE | PLUG
VALVE | PRESSURE REGULATING
VALVE | PRESSURE RELIEF
VALVE | SOLENOID
VALVE | SURGE RELIEF
VALVE | THERMAL
VALVE | VACUUM PRIMING
VARIABLE FREQUENCY DRIVE (VFD) | n/a
VARIABLE SPEED DRIVE (VSD) | n/a
VEHICLE | BICYCLE
VEHICLE | BOOM TRUCK
VEHICLE | CARS
VEHICLE | SUV
VEHICLE | TRAILER
VEHICLE | TRUCKS
VEHICLE | UTILITY VEHICLE
VEHICLE | VAN
WASHER COMPACTOR | n/a
WASTE GAS BURNER | n/a
WATER HEATER | TANK
WATER HEATER | TANKLESS
WATER SAFETY EQUIPMENT | BUOY
WATER SAFETY EQUIPMENT | LIFE JACKET
WATER SAFETY EQUIPMENT | SHEPHERD'S HOOK
WATER SOFTENER | n/a
WEIGH SCALE | CHLORINE TONNER
WEIGH SCALE | TOTE
WEIGH SCALE | TRUCK
WELL | GROUNDWATER

## Facility List (hidden)
Facilities
41 Acres Septic Receiving Station
Airport Rd Pumping Station and Reservoir
Alloa Pumping Station and Reservoir
Alton Booster
Alton Standpipe
Alton WTP 1
Alton WTP 2
Battleford Booster Pumping Station
Beach Street SPS
Beckett Sproule Pumping Station and Reservoir
Beechwood SPS
Ben Machree SPS
Bolton Camp SPS
Bolton East Elevated Tank
Bolton North Booster
Bolton North Hill SPS
Bolton South Booster
Bolton SPS
Bolton West Elevated Tank
Britannia Leachate SPS
Caledon East Reservoir
Caledon East SPS
Caledon East WTP 1
Caledon East WTP 2
Caledon Groundwater Treatement Plant
Caledon Village Reservoir
Caledon Village Reservoir
Caledon Village Reservoir
Caledon Village WTP 1
Caledon Village WTP 2
Castlemore SPS
Centerville Re-Chlorination Site
Cheltenham Reservoir
Cheltenham WTP
Chinguacousy SPS
Clarkson SPS
Clarkson Wastewater Treatment Plant
Dixie Road Booster
Dougall SPS (Mayfield West)
East Brampton Pumping Station and Reservoir
Elmwood SPS
Fifeshire SPS
Finch Avenue Storm Water Pumping Station
Front Street SPS
G.E. Booth Wastewater Treatment Plant
Gore Road SPS
Hanlan Pumping Station and Reservoir
Harvestview SPS
Heartlake Storm Water Pumping Station
Herridge Pumping Station and Reservoir
Hiawatha SPS
Hwy 50 Metering Chamber
Indian Road SPS
Inglewood PRV Chambers
Inglewood Reservoir
Inglewood SPS
Inglewood WTP 1
Inglewood WTP 2
Inglewood WWTP
Intermodal SPS
Jack Darling SPS 1
Jack Darling SPS 2
Lakelands SPS
Lakeview Water Treatment Plant
Lorne Park Water Treatment Plant
Malton Four Corners Storm Water Pumping Station
Mayfield SPS
Mayfield West Elevated Tank
McVean SPS
Meadowvale Pumping Station and Reservoir
Meadowvale SPS
Mono Mills Re-Chlorination Site
Mono Mills Standpipe
Mullet Creek SPS
North Brampton Pumping Station and Reservoir
North Sheridan Landfill SPS
Old Church Road Booster Station
O'Neil Court SPS
Palgrave Reservoir
Palgrave Well 2
Palgrave WTP 2
Palgrave WTP1 and Bulk Water Station
Pinetree Crescent SPS
Richards Memorial SPS
Rosemere Road SPS
Shardawn Mews SPS
Silver Birch Trail SPS
Silverthorn Pumping Station and Reservoir
Snelgrove Elevated Tank
Stonehaven Drive SPS
Streetsville Pumping Station and Reservoir
Torbram Storm Water Pumping Station
Tullamore Pumping Station and Reservoir
Watersedge SPS
West Brampton Pumping Station and Reservoir
York-Peel Odour Control Facility

## Status Options (hidden)
Existing
New
Future