## Sheet1
Variable Speed Drives Installation Start-up Checklist
Project Name:
Region Contract No.: |  | Contractor:
Date:
Equipment
Process Area
Specification/Drawing Reference
Tag No.
Manufacturer/Supplier
Model
Serial Number |  | Date Received
Shop Drawing No. |  | Date Installed
Shop Drawing Status |  | Date Inspected/ Verified by Manufacturer
Installation | Checked By (Initial) | Date | Remarks
Wiring/Conduit Termination
Tagging Nameplates
Fuse/Overload Ratings Checked
Drive Properly Grounded
Signal and Input/Output Power Wiring Run in Separate Conduits
Direction of Motor Rotation
Input Voltage
Speed Control Signal
Output Voltage
Horsepower Rating
Max Speed Setting
Min Speed Setting
Acceleration Rate Setting
Deceleration Rate Setting
Operation and Maintenance Manuals Submitted
Spare Parts Rec’d
START-UP – (Manufacturer’s Rep. in Attendance)
Performance per Spec/Data Sheet (Identify)
Manual Start/Stop
Auto Start/Stop
Manual Speed Selection
Auto Speed Selection
Drive Run/Fault Indication
Duration of Initial Run (min. 1 hour)
Manufacturer’s Letter of Confirmation of Equipment Proper Installation Received
*Indicates (N/A) if not applicable
SPEED | MOTOR VOLTAGE | MOTOR CURRENT | MOTOR FREQUENCY
Comments:
Inspection Result
Contractor’s Signature |  | Inspector’s Signature
Date |  | Date
Passed Installation and Start-up checkout. Equipment certified ready for service
Failed – Contractor to schedule equipment re-inspection